[image: image1.png]TAMARAC
— ~

The City For Your Life



         CITY OF TAMARAC
PUBLIC SERVICES DEPARTMENT

Engineering Division

6011 Nob Hill Road

Tamarac, FL 33321

Tel No. (954) 597-3712 – Fax (954) 597-3710

PRE-CONSTRUCTION MEETING AGENDA



· Approved Engineering Drawings.




· A set of approved engineering drawings, signed and sealed by a State of Florida Professional Engineer (Engineer of Record), including a copy of a signed and sealed Stormwater Pollution Prevention Plan (SWPPP), shall be kept on site at all times.

· Any deviation(s) from said approved engineering plans (including but not limited to, shop drawings, engineering design plans) shall be submitted in writing to the Public Services Department, Engineering Division, for approval. Any applicable revised drawing(s) and/or sketch(es) shall accompany any correspondence.

· Approved Engineering Permit.




· An approved Engineering Permit card shall be kept on site at all times and shall be placed in a clearly visible area. No engineering inspection(s) shall be performed without an approved Engineering Permit and/or if the Engineering Permit card is not on site or placed in a clearly visible area.

· Discussion on “Minimum Standards” requirements.




· Highlights of standard construction details as approved by the Public Services Department.

· Finish Rock As-Builts.




· The asphalt surface course shall not be placed until as-built drawings of the limerock base have been submitted and approved by the Engineer Of Record and the City Engineer or designee.

· The finished surface of the base course and that of the wearing surface shall not vary more that +/- 0.04 feet from the approved grading plan (template) and all areas shall be graded to drain.  Any irregularities exceeding this limit shall be corrected.

· Project Schedule.




· Submittal of a project schedule is required prior to commencement of work. The schedule should indicate approximate start, duration and completion of any paving, drainage, water and sewer work.

· It shall be unlawful for any person to perform labor or work or to operate or conduct any business or enterprise in the city on any day, except between the hours of 8:00 AM and 6:00 PM, at a location so close to inhabited dwellings, apartments or hotels that the noise emitted from the operation of such business or enterprise shall disturb or be detrimental to the health, peace, and quiet of any occupants thereof. (Sec. 9-91)
· Water Meter Count and Installation Schedule
· Developer/Contractor to provide a water meter count and proposed installation schedule prior to first inspection. 

· NPDES/ Stormwater Pollution Prevention Plan (SWPPP) Issues.
· Need to install BMP’s as per plan and inspect prior to any other work or        

                inspections.

· VIOLATIONS AND PENALTIES







· Any person or entity found in violation of this section after notice and opportunity to be heard, shall pay a fine of one hundred dollars ($100.00) plus cost. Any person or entity which allows said violation to continue beyond twenty-four (24) hours of initial notification shall pay an additional fine of two hundred fifty dollars ($250.00).  Any person or entity which allows said violation to continue beyond forty-eight (48) hours shall pay a fine of one thousand dollars ($1,000.00) and may be issued a stop work order, and for each day of violations thereafter shall also pay a fine of one thousand dollars ($1,000.00).  These fines are in addition to any fines that may be imposed by other agencies having jurisdiction over such activities.  Repeat violations may result in fines up to ten thousand dollars ($10,000.00) per day including stopping work if the violation is of a serious nature, affecting health, safety and welfare of the residents or environment.
· Funds collected from the fines shall be deposited in the stormwater management utility fund and shall be used to pay for these services as outlined in section 22-257 of the City Code as amended from time to time.

(Ord. No. 2006-18, & 2, 10-25-06)

                 Secs. 10-227—10-230. Reserved.
· Shop Drawings
· Contractor shall supply Shop Drawings to Engineering Division for review and approval prior to issuance of a permit.  Said Shop Drawings shall be reviewed and approved by Engineer of Record prior to being submitted for approval.  

· Overview of Inspection requirements.

· Review of required inspections.

· Procedure for request of inspections.

· Engineer of Record and Contractor shall be present for all inspections and tests. Engineer of Record to provide written report of inspections.

· Inspection Request Procedures.

STEP 1

Please verify the type of permit issued.

STEP 2

Prior to calling make sure that you have your permit number and the type of inspection you are requesting.  The inspection must be requested with the wording exactly as it appears on the attached required inspection request list.

STEP 3

Engineering inspection requests are to be called into the Building Department.

City of Tamarac Building Department

6011 Nob Hill Road

Tamarac, Florida 33321

(954) 597-3420  

FAX: (954) 597-3450 





INSPECTION REQUEST TELEPHONE NUMBER: (954) 597-3420

Note:  All inspections must be called in by 3:00 p.m., the day prior to proposed inspection.

STEP 4

If you should have any questions regarding a specific engineering inspection requirement as described in the following pages, you can contact the Public Services, Engineering Division at (954) 597-3712.

SEE EXHIBIT “A” FOR LIST OF PERMIT TYPES AND ASSOCIATED INSPECTIONS

· Traffic Maintenance Plans. 

· Prior to the start of any construction that would impact traffic, a Maintenance of Traffic (MOT) Plan, prepared by an individual certified by ATSSA and approved by a State of Florida Professional Engineer (Engineer of Record), must be submitted for approval to the Public Services Department, Engineering Division. Note that said MOT shall be ultimately signed and approved by personnel of the Broward County Traffic Engineering Division, and a copy of said approved plans must be forwarded to the Public Services Department, Engineering Division.

· A minimum of a forty-eight (48) hours turn around is required for review.

· Requirements for final approval of a development project.

· The following documents must be submitted to the Public Services Department, Engineering Division, prior to conducting a final inspection of the project:

· Final written certification by a Florida Professional Engineer (Engineer of Record).

· All outside agency final inspection approval (FDOT, DPEP, BCED, SFWMD, etc.)

· Final certified As-Builts by a Florida Registered Land Surveyor and approved by a State of Florida Professional Engineer (Engineer of Record). (See specifications below).

· Documentation indicating that appropriate easements have been recorded.

· Water and Sewer certification of clearance(s).

· If a performance bond for work within the Public Right-of-Way has been provided and release is desired, the following documents must be submitted in addition to the above:

· Certified actual costs of the improvements within the Right-of-Way signed and sealed by the Engineer of Record.

· A twenty five percent (25%) warranty bond.
This bond shall be derived from the Certified Actual Costs of the improvements or the approved original Certified Cost Estimate, whichever amount is higher.

· Requirements for Water and Sewer certification.

· The following documents must be submitted to the Public Services Department, Engineering Division, prior to the City Engineer signing of Water and Sewer certifications:

· Water and Sewer As-Built drawings (signed and sealed by the Engineer of Record).

· Bill of Sale Absolute.

· Water and Sewer Utility Easements.

· Certified actual costs of the improvements signed and sealed Engineer of Record.

· Other items for consideration.     

Final Certified As-Built Drawing(s) Minimum Requirements

1. One 24”x36” set of certified plans, signed and sealed copy (Mylar).

2. One 24”x36” set of certified plans, signed and sealed copy (Bond).

3. As-Built Plans to be submitted in digital format in AutoCAD’s latest version.  The Digital File(s) must be compatible with the City’s GIS system and spatially located per the City’s coordinate grid/State Plane coordinates.

4. Temporary water service:

· All requests for temporary water service shall be made through the on site Public Works Department, Engineering Division, Engineering Inspector.

5. Record drawings shall include:

· Length of pipe runs from center of structure to center of next structure, including the size and type of pipe used;

· Type and size of each structure and its location with reference to property lines and/or the street centerline;

· Rim elevations of inlet grates, drainage manholes, sewer manholes, gate valve lids, etc., and invert elevations of all pipes;

· Final cross sections of drainage swales shown at fifty-foot intervals coinciding with pavement interval elevations;

· Cross-section drawings of all lakes and canals within and adjacent to the development at two-hundred-foot intervals (minimum);

· Finish grades at the edge of finished asphalt and centerline at longitudinal intervals of not more than fifty (50) feet, street intersections and/or any changes in gradient.

· Other documents that may be required for permit closure and performance bond release.

· Certified Soils Report.

· Certified Subgrade Density Test Report.

· Certified Limerock Density Test Report.

· Certified Concrete Compressive Strength Report.
PAGE  
V

